| Date | Note |
| --- | --- |
| 2025-09-04 | Installation of the PV Blocks System - Module imec 1 mounted |
| 2025-10-09 | Mounting structure put up for the two other modules (components missing, MC4Y connectors) |
| 2025-11-10 afternoon | Mounting of module imec 2 & imec 6 - imec 2: large module (underneath module imec 1) - imec 6: small module [picture 1] |
| 2025-11-18 | - Previously only forward scan was measured. Changed to forward/reverse Isc-Voc-Isc for hysteresis effect detection - set tilt angle of SiRef to 37 degrees (previously 45 degrees) |
| 2025-12-01 | Cleaned module imec 2 from dirt that covered several cells to a small extent. Effect on IV curve? |

Picture 1

Dirt on imec 2 that was removed

Monitoring System (PV Blocks)